SMART ENVIRONMENT ENERGY OPTIMIZER

Using Deep Learning-Based Occupancy Estimation
and Reinforcement Learning Control

Complete Project Documentation
Deep Learning + Reinforcement Learning

[Team Member Names]
[College Name]
[Date]

# Table of Contents

1. Project Overview

2. System Architecture

3. Deep Learning Component — Occupancy Estimation

4. Reinforcement Learning Component — Energy Optimization

5. Integration & Demo Pipeline

6. Results & Evaluation

7. Why We Chose What We Chose — All The Whys

8. Known Limitations & Honest Assessment

9. How to Run

10. File Structure

11. References

# 1. Project Overview

## The Problem (In Simple Words)

Imagine your college building. Every day, lights, fans, and ACs run at full power in EVERY room — even when classrooms are empty. This wastes a massive amount of electricity and money.

Real-world example: A lecture hall with 8 tube lights (40W each), 2 fans (75W each), and 1 AC (1500W) consumes 1,970 watts. If it runs for 10 hours daily, that's 19.7 kWh per day — just ONE room. With 5 rooms, that's ~100 kWh/day or Rs 800/day wasted when rooms are empty.

## Our Solution

We built an AI-powered energy management system that:

SEES how many people are in each room (using a camera + Deep Learning)

DECIDES what to turn on/off (using a trained RL agent)

SAVES energy while keeping everyone comfortable

Layman Analogy: Think of it like a smart thermostat, but instead of just temperature, our AI watches the room through a camera, counts people, and then determines: "There are only 5 students in Room 102 — I'll keep lights at half and turn AC off. But Room 103 has 35 students — everything goes to full power."

## Key Achievements

| Metric | Value |
| --- | --- |
| Energy Savings | 69-76% compared to always-on baseline |
| DL Accuracy (MAE) | 0.69 (less than 1 person error on average) |
| DL Accuracy (MAPE) | 2.3% error |
| Cost Savings | Rs 540-665 per day |

# 2. System Architecture

## High-Level Flow

Camera/Video → DL Pipeline → Occupancy Count → RL Agent → Device Control → Dashboard

The system takes a live video feed, processes each frame through a deep learning pipeline to count people, feeds the occupancy data to a reinforcement learning agent that decides optimal device settings, and displays everything on a real-time dashboard.

## Component Breakdown

| Component | Technology | Purpose |
| --- | --- | --- |
| Feature Extractor | YOLOv8-small (frozen) | Extract visual features from camera frames |
| Density Head | 3-layer Dilated CNN | Generate density maps → count people |
| RL Agent | PPO (Stable-Baselines3) | Decide device levels for each room |
| Environment | Custom Gymnasium Env | Simulate college floor with 5 rooms |
| Dashboard | Matplotlib (TkAgg) | Real-time visualization |

## Data Flow (Step by Step)

1. Camera captures a frame (640×480 pixels)

2. YOLOv8 backbone extracts features → [B, 128, 60, 80] tensor

3. Density Head produces a density map → sum gives people count

4. Auto-calibration removes scene-specific background noise

5. Count is normalized to occupancy percentage (0-100%)

6. RL agent observes occupancy + device states (27-dim vector)

7. Agent outputs device levels (OFF / HALF / FULL) for each device

8. Comfort override ensures minimum comfort when people are present

9. Dashboard displays everything in real-time

# 3. Deep Learning Component — Occupancy Estimation

This section covers the deep learning pipeline for counting people in indoor rooms.

## 3.1 Problem Statement

Estimate the number of people in an indoor room from a single camera frame, without requiring person detection or tracking.

## 3.2 Approach: Density Map Regression

Instead of detecting individual people (which fails in crowded scenes due to occlusion), we use density map regression:

For each annotated head position, place a Gaussian blob on a map

Train a CNN to output a density map from an image

Sum of all pixels in the density map = person count

Why density maps instead of direct counting?

Direct regression ('this image has 23 people') doesn't learn spatial information

Density maps preserve WHERE people are, making the model much more robust

The model can generalize to different crowd densities

Layman analogy: Instead of asking "how many grains of rice are in this bowl?", we first create a heat map showing where rice is concentrated. Adding up the heat map gives us the total count. This is more reliable than trying to count individual grains.

## 3.3 Architecture

Backbone: YOLOv8-small (FROZEN)

Input Image [3, 480, 640] → YOLOv8-small backbone (pretrained on COCO, weights FROZEN) → Feature Map [128, 60, 80]

We use YOLOv8-small as a feature extractor only

Pretrained on COCO (Common Objects in Context) — 330K images

All backbone weights are FROZEN — we don't retrain them

Why freeze? The backbone already knows how to extract visual features. Training it would require 100x more data.

We extract from layer 4 (C2f block, stride-8 downsampling) → 128 channels at 1/8 resolution

Density Head (TRAINABLE)

Layer 1: Conv2d(128→64, kernel=3×3, dilation=1, padding=1) + ReLU

Layer 2: Conv2d(64→32, kernel=3×3, dilation=2, padding=2) + ReLU

Layer 3: Conv2d(32→1, kernel=3×3, dilation=2, padding=2) + ReLU

Output: Bilinear Upsample to [1, 480, 640] → Density Map

Why dilated convolutions?

Dilated (atrous) convolutions increase the receptive field without adding parameters. With dilation=2, a 3×3 kernel effectively covers a 5×5 area. This helps the model understand context around each person without being computationally expensive.

Why ReLU at the end (not sigmoid)?

Density values should be non-negative (can't have -0.5 people) but not bounded above. Sigmoid would cap at 1.0, which is wrong for density values.

## 3.4 Dataset: Mall Dataset

| Property | Value |
| --- | --- |
| Source | CUHK (Chinese University of Hong Kong) |
| Total Frames | 2000 video frames from mall surveillance |
| Resolution | 640 × 480 pixels |
| People per frame | 13 to 53 (mean: 31.2) |
| Annotations | Head (x,y) positions for every person |
| Scene | Indoor — overhead surveillance view |
| Total annotations | 60,000+ head positions |

Why Mall Dataset and not ShanghaiTech?

We initially trained on ShanghaiTech Part B (outdoor crowd scenes — streets, plazas, stadiums). When applied to indoor rooms, the model hallucinated 30-40 people in empty classrooms because outdoor textures are completely different from indoor environments.

The Mall Dataset is indoor surveillance — very similar to our target scenario (classroom cameras). After retraining, MAE improved from 19.22 to 0.69.

## 3.5 Training Details

Preprocessing: Density Map Generation

For each frame with N annotated head positions:

Create a blank image (480×480 zeros)

Place a value of 1.0 at each head (x, y) coordinate

Apply a Gaussian filter (σ=4.0, kernel_size=15)

Result: density map where sum of all pixels ≈ N

Training Hyperparameters

| Hyperparameter | Value | Justification |
| --- | --- | --- |
| Epochs | 50 (max) | Sufficient for 1600 samples; early stopping prevents overfitting |
| Batch Size | 4 | Small for CPU training; high-res maps use memory; adds regularization |
| Learning Rate | 1e-4 | Standard for Adam fine-tuning; not too aggressive |
| Optimizer | Adam | Adaptive per-parameter rates; works well with small datasets |
| Early Stopping Patience | 12 epochs | Stop if no improvement for 12 consecutive epochs |
| Train/Val Split | 80/20 | 1600 train + 400 validation frames |
| Augmentation | Horizontal flip + color jitter | Effectively doubles data; handles lighting changes |
| Seed | 42 | Convention for reproducibility |
| Gaussian σ | 4.0 | Each person affects ~15×15 pixels; standard for medium-density |

Loss Function: DensityLoss

Loss = MSE(predicted_density, ground_truth_density) + 0.01 × |predicted_count - actual_count|

MSE (pixel-level): Forces the density map shape to match ground truth

Counting loss (weight=0.01): Directly penalizes wrong total counts

Why both? MSE alone might produce beautiful maps that sum to wrong numbers. Count loss ensures correctness.

Learning Rate Scheduler

ReduceLROnPlateau: If validation loss doesn't improve for 5 epochs, halve the learning rate. Factor=0.5, Patience=5 epochs. This automatically fine-tunes as training progresses.

## 3.6 Auto-Calibration (Noise Removal)

The density model has inherent 'background noise' — it sees texture patterns in walls and furniture and assigns small density values. This varies per scene.

Our solution: Auto-calibration using the first 5 frames:

Run the model on the first 5 frames of any video

Take the minimum raw count × 0.9 = noise floor

All subsequent predictions subtract this noise floor

Example:

| Video | Raw Count | Auto Noise Floor | Cleaned Count | Result |
| --- | --- | --- | --- | --- |
| empty.mp4 (0 people) | 29 | 25.2 | ~4 | Close to 0 ✓ |
| aarya.mp4 (7 people) | 18 | ~15 | ~8 | Close to 7 ✓ |
| hackx.mp4 (15 people) | 30 | ~18 | ~15 | Accurate ✓ |

## 3.7 Evaluation Results

Quantitative Results on Mall Dataset (2000 frames):

| Metric | Value | Meaning |
| --- | --- | --- |
| MAE | 0.69 | Model is off by less than 1 person on average |
| RMSE | 1.07 | Root mean squared error (penalizes large errors) |
| MAPE | 2.3% | Only 2.3% percentage error — 97.7% accurate |
| GT Range | 13 - 53 | Ground truth people per frame |
| Pred Range | 14.0 - 53.6 | Model's predicted range |

# 4. Reinforcement Learning Component — Energy Optimization

This section covers the RL agent that learns to control devices optimally.

## 4.1 Problem Formulation

Goal: Learn a policy that controls lights, fans, and ACs across 5 rooms to minimize energy consumption while maintaining occupant comfort.

Layman Analogy: Imagine you're a building manager. Every 6 minutes, you walk through the building, check how many people are in each room, and decide: should the lights be off, at half, or full? Same for fans and AC. You want to save electricity but not make students uncomfortable. Over time, you learn the patterns — "Room 101 is always empty at 3 PM, so I can turn everything off." Our RL agent learns this same intuition, but automatically.

## 4.2 Environment Design (CollegeFloorEnv)

Room Configuration

| Room | Type | Capacity | Devices | Max Power |
| --- | --- | --- | --- | --- |
| 101 | Lecture Hall | 60 | 8 lights, 2 fans, 1 AC | 1,970W |
| 102 | Lecture Hall | 60 | 8 lights, 2 fans, 1 AC | 1,970W |
| 103 | Computer Lab | 40 | 6 lights, 1 AC, 40 PCs | 4,740W |
| 104 | Tutorial Room | 30 | 4 lights, 2 fans | 310W |
| 105 | Staff Room | 10 | 4 lights, 1 AC | 1,660W |
| Corridor | — | — | 4 lights (always 50%) | 80W |

Total always-on baseline: 108.1 kWh/day (if everything runs at full for 10 hours)

### MDP Formulation

State Space (Observation): Box(27)

Per room (5 rooms × 5 values = 25): [occupancy, activity, light_level, fan_level, ac_level]

Global (2 values): [outside_temperature_normalized, time_of_day_normalized]

All values normalized to [0, 1]

Action Space: MultiDiscrete([3] × 12)

12 controllable devices (each room's available devices)

Each device has 3 levels: 0 (OFF), 1 (HALF), 2 (FULL)

Total possible actions: 3^12 = 531,441 combinations

Episode: 96 timesteps = 10 hours (8 AM to 6 PM), each step ≈ 6.25 minutes

### Occupancy Simulation

Occupancy follows realistic Gaussian curve patterns:

Room 101 (Lecture Hall): Peaks at 9-11 AM and 1-3 PM (class hours)

Room 103 (Computer Lab): Peaks at 2-5 PM (lab sessions)

Room 104 (Tutorial): Short scattered peaks throughout the day

Room 105 (Staff Room): Steady low occupancy 9 AM - 5 PM

Each episode adds a random phase offset (±5%) so the agent doesn't memorize exact patterns. Gaussian noise (σ=0.1) is also added for stochasticity.

## 4.3 Reward Function

Reward = α × Comfort − β × Energy_Cost − γ × Adjustment_Penalty

| Term | Weight | Purpose |
| --- | --- | --- |
| α × Comfort | α = 1.0 | Positive reward for keeping occupants comfortable |
| β × Energy_Cost | β = 0.6 | Penalty for consuming energy (Rs 8/kWh) |
| γ × Adjustment | γ = 0.1 | Penalty for frequently switching devices |

How Comfort is Calculated:

Comfort = 1 − mean(max(required_level − actual_level, 0)) across devices

| Occupancy | Required Level | Example |
| --- | --- | --- |
| > 70% | 1.0 (FULL) | 40 students → everything at max |
| 30-70% | 0.5 (HALF) | 15 students → devices at half |
| < 30% | 0.0 (OFF OK) | Empty → agent can turn everything off |

Important: Only UNDER-provision hurts comfort. Over-provision (lights on in empty room) doesn't hurt comfort — it only wastes energy. This teaches the agent to save energy proactively.

### Why β = 0.6? (Beta Sweep Experiment)

We tested three beta values:

| β (Beta) | Energy (kWh/day) | Comfort | Behavior |
| --- | --- | --- | --- |
| 0.3 | 26.4 | 84.0% | Comfort-focused, wastes some energy |
| 0.6 (CHOSEN) | 25.1 | 81.2% | Best balance of savings vs comfort |
| 0.9 | 26.5 | 83.3% | Too aggressive, unstable behavior |

## 4.4 PPO Algorithm

Why PPO?

| Algorithm | Pros | Cons | Verdict |
| --- | --- | --- | --- |
| DQN | Simple | Can't handle MultiDiscrete (531K actions) | ✗ |
| A2C | Fast | High variance, unstable | ✗ |
| PPO | Stable, handles MultiDiscrete, sample efficient | Slower | ✓ CHOSEN |
| SAC | State-of-the-art for continuous | Requires continuous actions | ✗ |

PPO (Proximal Policy Optimization) Key Properties:

Clipped objective prevents catastrophic policy updates

Works with MultiDiscrete action spaces naturally

Industry standard for real-world control problems (robotics, games, energy)

PPO Hyperparameters

| Parameter | Value | Justification |
| --- | --- | --- |
| Total timesteps | 200,000 | ≈2,083 episodes. Sufficient for convergence |
| Learning rate | 3e-4 | SB3 default, well-tested for PPO |
| n_steps | 2048 | ~21 episodes per update. Stable gradients |
| batch_size | 64 | Mini-batch size. Power of 2 |
| n_epochs | 10 | Passes over rollout buffer per update |
| Policy | MlpPolicy (64×64) | 2-layer MLP. Tabular data, not images |
| Discount (γ) | 0.99 | Agent cares about long-term savings |
| Seed | 42 | Reproducibility |

Layman analogy for training: The agent plays 21 full "games" (episodes of 96 steps each), remembers what happened, then reviews all 2048 steps to improve its strategy. It repeats this ~100 times (200K total steps) until it becomes expert at energy management.

## 4.5 Comfort Override (Safety Layer)

The PPO agent sometimes turns everything off aggressively. In reality, students can't sit in the dark! We added a safety override:

| Occupancy | Override Action |
| --- | --- |
| > 60% (crowded) | All devices → FULL |
| 25-60% (moderate) | All devices → at least HALF |
| 5-25% (few people) | Lights + Fan → HALF, AC stays off |
| < 5% (empty) | Agent's choice (may turn everything off) |

## 4.6 RL Training Results

| Metric | Always-On Baseline | PPO Agent | Improvement |
| --- | --- | --- | --- |
| Energy/day | 108.1 kWh | 25.1 kWh | 76.8% savings |
| Cost/day | Rs 864.80 | Rs 200.74 | Rs 664 saved |
| Comfort | 100% | 81.2% | Acceptable trade-off |

# 5. Integration & Demo Pipeline

The demo.py script ties everything together:

Loads the trained PPO model from ppo_college_floor.zip

Initializes the CollegeFloorEnv gymnasium environment

Opens the video source (file or webcam) for Room 102

Runs the DL pipeline on each frame to get occupancy

Feeds occupancy to the RL agent for device decisions

Applies comfort override for human safety

Updates the real-time dashboard

Loops until video ends or user presses Ctrl+C

Dashboard Features:

5 room cards showing people count, occupancy %, device status (L/F/AC), power draw

Live metrics panel: power, energy, cost, savings %, comfort %

Occupancy bar chart comparing all rooms

Savings summary showing baseline vs AI-optimized energy

# 6. Results & Evaluation

## 6.1 DL Model Evaluation

| Metric | Value | Meaning |
| --- | --- | --- |
| MAE | 0.69 | Less than 1 person error on average |
| RMSE | 1.07 | Root mean squared error |
| MAPE | 2.3% | 97.7% accurate |

Evaluation plots generated: evaluation_results/evaluation_plots.png (scatter, error distribution, timeline, residuals) and evaluation_results/sample_predictions.png (visual predictions on 8 frames)

## 6.2 RL Agent Performance

| Scenario | Energy (kWh) | Cost (Rs) | Savings |
| --- | --- | --- | --- |
| Always-On Baseline | 108.1 | 864.80 | — |
| PPO Agent (simulated) | 25.1 | 200.74 | 76.8% |
| PPO + Video (aarya.mp4) | 40.7 | 325.33 | 62.4% |
| PPO + Video (hackx.mp4) | 32.9 | 262.92 | 69.6% |

# 7. Why We Chose What We Chose — All The Whys

Why seed = 42?

42 is the most commonly used random seed in ML research. It's a cultural convention from 'The Hitchhiker's Guide to the Galaxy' where 42 is the 'Answer to the Ultimate Question of Life'. Any fixed integer works — the point is reproducibility: same code = same results.

Why YOLOv8 and not ResNet/VGG?

YOLOv8-s has 11.2M parameters (small). VGG-16 has 138M. YOLOv8 is pretrained on COCO (80 classes including 'person') and runs at ~50ms/frame on CPU. It's the latest version with modern C2f blocks.

Why freeze the backbone?

We only have 2000 training images. Training 11.2M parameters on 2000 images = massive overfitting. The backbone already extracts excellent features from COCO pretraining. We only train the density head (5,793 parameters).

Why 50 epochs?

With 1600 samples and batch_size=4, each epoch = 400 iterations. Early stopping with patience=12 typically stops at epoch 25-35. Beyond 50 risks overfitting.

Why batch size 4?

CPU training — larger batches are slow. Small batches add implicit regularization via noisier gradients. Density maps (60×80) consume significant memory.

Why learning rate 1e-4?

Standard for Adam fine-tuning. 1e-3 caused instability. 1e-5 was too slow. ReduceLROnPlateau automatically halves it when progress stalls.

Why Gaussian σ=4.0?

Each person affects ~15×15 pixels (3σ rule). Too small (σ=1) = sparse maps. Too large (σ=15) = blurred people. Literature standard is σ=3-5.

Why PPO and not Q-learning?

Our action space is 3^12 = 531,441 possible actions. Q-learning needs one Q-value per action — impractical. PPO's policy network scales naturally.

Why 200,000 timesteps?

≈2,083 episodes, ~97 policy updates. Convergence typically occurs around 50 updates. 200K is the standard starting point for PPO.

Why Rs 8/kWh?

Average Indian commercial electricity rate is Rs 6-10/kWh. Rs 8 is a representative mid-range value.

Why α=1.0, β=0.6, γ=0.1?

α=1.0: Full weight on comfort. β=0.6: Found via beta sweep as the optimal balance. γ=0.1: Small penalty for switching to prevent flickering.

Why 96 timesteps per episode?

10-hour workday (8 AM - 6 PM) ÷ 96 = 6.25 min/step. Matches real building management system intervals (5-15 min).

# 8. Known Limitations & Honest Assessment

## 8.1 DL Limitations

Domain Gap

Model trained on one mall camera. Different scenes have different noise levels. Mitigation: Auto-calibration subtracts scene-specific noise.

Empty Room Issue

Empty rooms still show raw count of ~25-30. After calibration, ~3-5 (not zero). Fundamental limitation of density-based counting.

Single Camera Only

Currently one camera → one room (Room 102). Other rooms simulated. 5 cameras would need 5× inference time.

No Person Re-identification

Model counts density, not individuals. Can't tell if Person A left and B entered. For energy management, we only need count — acceptable.

## 8.2 RL Limitations

Simulated Environment

Rooms 101, 103-105 use simulated Gaussian occupancy curves, not real camera data. Curves are reasonable approximations of college schedules.

Aggressive Agent

PPO sometimes turns everything off to save energy. Without comfort override, students could sit in the dark. Mitigated by hard-coded safety layer.

No Temperature Model

AC decisions based on occupancy, not actual room temperature. A full BMS would also use temperature sensors.

Only 3 Device Levels

Devices can be OFF/HALF/FULL only. Real dimmers have continuous control. Simplified to keep action space manageable.

## 8.3 System Limitations

Tkinter Threading: Matplotlib's TkAgg backend occasionally crashes during fast GUI updates. Wrapped in try/except — demo continues.

CPU-Only: All training on CPU. Mall training: ~1.5 hours, RL training: ~10 minutes. GPU would be 10-20× faster.

# 9. How to Run

Prerequisites:

Python 3.10+

pip install torch ultralytics opencv-python scipy matplotlib stable-baselines3 gymnasium tqdm

Step 1: Train DL model

python train_mall.py

Downloads Mall Dataset (~130MB), trains ~50 epochs, saves density_head.pth

Step 2: Train RL agent

python rl_training/train_ppo.py --timesteps 200000

Saves ppo_college_floor.zip

Step 3: Evaluate DL model

python evaluate_model.py

Generates plots in evaluation_results/

Step 4: Run Demo

python demo.py --source aarya.mp4     (with video)

python demo.py                        (with webcam)

python demo.py --simulate             (simulation only)

# 10. File Structure

demo.py — Main integration demo

train_mall.py — Train density head on Mall Dataset

evaluate_model.py — Evaluate trained model with plots

density_head.pth — Trained density head weights

ppo_college_floor.zip — Trained PPO agent

dl_pipeline/model.py — YOLOv8Backbone + DensityHead

dl_pipeline/preprocess.py — Density map generation

rl_environment/env.py — CollegeFloorEnv (Gymnasium)

rl_training/train_ppo.py — PPO training script

rl_training/evaluate_rl.py — Compare PPO vs baselines

rl_training/beta_sweep.py — Beta hyperparameter sweep

visualization/dashboard.py — Real-time matplotlib dashboard

evaluation_results/ — Model accuracy plots

# 11. References

[1] C. C. Loy, K. Chen, S. Gong, T. Xiang. "From Semi-Supervised to Transfer Counting of Crowds." ICCV 2013. (Mall Dataset)

[2] Jocher, G., Chaurasia, A., Qiu, J. (2023). "Ultralytics YOLOv8." GitHub. (Backbone)

[3] Schulman, J., et al. "Proximal Policy Optimization Algorithms." arXiv:1707.06347, 2017. (PPO)

[4] Raffin, A., et al. "Stable-Baselines3: Reliable RL Implementations." JMLR, 2021. (SB3)

[5] Farama Foundation. "Gymnasium: A Standard API for RL." 2023. (Environment)

[6] Zhang, Y., et al. "Single-Image Crowd Counting via Multi-Column CNN." CVPR, 2016. (Density Maps)

[7] Yu, F., Koltun, V. "Multi-Scale Context Aggregation by Dilated Convolutions." ICLR, 2016. (Dilated CNN)